## Slide 1: Energy Networks Association
ENA EREC G109 Issue 1 2021
Revision Summary
29 September 2022

## Slide 2: ENA EREC G109 Issue 1 2021 Revision Summary
Lightning protection for networks up to 132 kV
This EREC enables network operators to assess the risks of damage to their networks caused by lightning and provides guidance on the methods available to mitigate these risks.
  SCOPE
  This EREC gives guidance on how to assess the level of risk associated with lightning strikes on the network, including information on lightning density across the UK.
  Information is provided on how to determine where lightning protection might be required and the various forms that this protection can take.
  A summary of the cause and effect of lightning strikes is also included along with the theory behind lightning protection.
  The subjects of earthing and network protection are discussed in the context of their relevance to the subject of lightning protection.
  The contents of this EREC are applicable to overhead lines, cables, switchgear and transformers for all voltages from low voltage up to 132 kV.
  HISTORY
    1st issued: March 2008 (as EREP 134)
    Last revision - Issue 2 in 2013
DOCUMENT PURPOSE
2

## Slide 3: ENA EREC G109 Issue 1 2021 Revision Summary
Summary of Amendments
    Document redrafted into new ENA format.
    Converted to EREC and renumbered from EREP 134 to EREC G109.
    Normative references and bibliography documents have been updated to reflect current issue status.
    References to surge arrestors and non-effectively earthed networks updated.
    Equations reformatted for greater clarity.
    Clarification added on damage due to indirect strikes.
Converted to EREC.
Normative references updated
Surge arrestors references updated.
Equations clarified.
Medium
Key Points
Nature of Revision
3

## Slide 4: ENA EREC G109 Issue 1 2021 Revision Summary
Who is affected and why?
    ENA Member Companies should review their purchase specifications for all materials and equipment associated with lightning protection on all networks from LV up to and including 132kV and update these, as necessary.
    The changes made to EREC G109 enhance the design requirements and safety of UK distribution systems in relation to lightning protection.
4

## Slide 5: ENA EREC G109 Issue 1 2021 Revision Summary
 | Rating | Assessment
Safety | Minor | No major changes.
Environment | Nil | N/A
Financial (costs/benefits) | Nil | N/A
Asset Quality & Performance | Minor | No major changes.
Statutory/ Regulatory | Nil | Statutory requirements unchanged
Reputation | Nil | N/A
Impact Assessment
5

## Slide 6: ENA EREC G109 Issue 1 2021 Revision Summary
Summary and Actions
    ENA EREC G109 Issue 1 2021 is a medium revision of EREP 134 Issue 2.
    ENA Member Companies should review their relevant documentation and operating procedures for the procurement, approval, use, storage, transport, and inspection of all materials and equipment relating to lightning protection to ensure compliance with the revised document.
    The document is available from the ENA Engineering Catalogue at www.energynetworks.org.
6

## Slide 7
© ENA 2020
7