## Slide 1: Energy Networks Association
ENA EREC G136 Issue 1 2019
Revision Summary
14 September 2021

## Slide 2: ENA EREC G136 Issue 1 2019 Revision Summary
Vegetation management near electricity equipment - principles of good practice
To present generic principles of good practice for vegetation management in the vicinity of electricity networks and network equipment when in pursuit of compliance with the statutory obligations that are placed on Network Operators
  SCOPE
    Non-prescriptive guidance for Network Operators and their site staff when engaged in vegetation management and covers all phases of work from the planning stage through to completion and leaving site
  HISTORY
    1st issued 2007 as ETR 136
    Major revision 2019, as detailed overleaf
DOCUMENT PURPOSE
2

## Slide 3: ENA EREC G136 Issue 1 2019 Revision Summary
Summary of Amendments
    Clarification on the need to mitigate future risks by removal of vegetation that has potential to encroach safety clearances before the next planned vegetation management cycle
    Clarification that it is an offence to interfere with birds that re-use their nests and bird types having protected nests and nest sites
    Guidance added on interpretation of Wildlife and Countryside Act regarding release into the wild any plant not ordinarily resident in the UK
    Guidance added on:
      Managing invasive plant species
      Dealing with injurious plant species
      Biosecurity issues
      Substation vegetation management
      Management of tree diseases
    Additional guidance on:
      Disposal of the waste arising from invasive plant species
      Need to use appropriately qualified and competent individuals able to both carry out tree work and work safely in proximity to electrical networks
      Suitable accreditation schemes in arboriculture
Guidance and legislation referenced brought up to date plus consequences of new legislation enacted since the last revision
Guidance added on invasive and injurious plant species, biosecurity and substation vegetation management
Major
Key Points
Nature of Revision
3

## Slide 4: ENA EREC G136 Issue 1 2019 Revision Summary
Who is affected and why?
    ENA Member Companies should review practices and procedures for vegetation management against the revised EREC G136 and update, as necessary
4
    This EREC represents a major revision bringing the guidance up to date, including the effects of amendments and updates to the legislation referenced and new legislation enacted since the last revision plus new guidance to assist Network Operators.

## Slide 5: ENA EREC G136 Issue 1 2019 Revision Summary
Impact Assessment
5
 | Rating | Assessment
Safety | Major | New and updated guidance to assist in improving safety
Environment | Major | New legislation places additional requirements to manage and preserve the environment
Financial (costs/benefits) | Minor | Member Companies continually update procedures
Asset Quality & Performance | Minor | Member Companies continually update procedures
Statutory/ Regulatory | Major | Statutory/regulatory changes require changes to operating procedures
Reputation | Minor | Member Companies already strive to maintain good relationships with landowners

## Slide 6: ENA EREC G136 Issue 1 2019 Revision Summary
Summary and Actions
    ENA EREC G136 Issue 1 2019 is a Major revision
    ENA Member Companies to review their operating procedures for vegetation management against the revised EREC G136 and update, as necessary
6
    The document is available from the ENA Engineering Catalogue at www.energynetworks.org.

## Slide 7
© ENA 2020
7