## Slide 1: Energy Networks Association
ENA EREC G43 Issue 5 2025
Revision Summary
5 January 2025

## Slide 2: ENA EREC G43 Issue 5 2025 Revision Summary
Instructions for Reporting to the National Fault and Interruption Reporting Scheme
Provides appropriate guidance for Participating Companies when reporting their electrical network faults in a consistent fashion.
  SCOPE
    The purpose of this EREC is to provide guidance to Participating Companies on the rules for electricity transmission/distribution network fault reporting, to the ENA.
    This EREC does not cover customer owned LV equipment
  HISTORY
    1st and 2nd Issue: Not known
    3rd Issue: January 2002 – Published
    3rd Issue Amendment 1: August 2012 – Minor revision of Issue 3 to include ‘Metal Theft’ cause code to Table A and B.
    4th Issue: January 2017 – General alignment to OFGEM RIGs: Annex F document.
DOCUMENT PURPOSE
2

## Slide 3: ENA EREC G43 Issue 5 2025 Revision Summary
Summary of Amendments
    Alignment to OFGEM RIIO-ED2 RIGs: Annex F.
    Consideration for NIE Networks throughout document.
    Clause 4.2.2.1 (5.2.2.1, 6.2.2.1 and 7.2.2.1): Addition of text that the report numbering system may be a unique system instead.
    Clause 4.2.26 (5.2.2.27 and 6.2.2.15): Removal of Category Three Severe Weather Exceptional Event.
    Clause 6.2.2.4: Note on ID of MEI that it is either 71 or one of 72,73,82 and 83.
    Table E (Manufacturer of component involved): Enfield is ID 138.
    Clause 7.1.2: Addition of scenario where a customer requested outage for customer work affects only a single customer.
Alignment to OFGEM RIIO-ED2 RIGs: Annex F.
Consideration of application to NIE Networks throughout.
General correcting of IDs in Tables.
Minor
Key Points
Nature of Revision
3

## Slide 4: ENA EREC G43 Issue 5 2025 Revision Summary
Who is affected and why?
    Primarily, staff, who are tasked with reporting electrical network faults to NaFIRs. ENA Member Companies should review their relevant documentation and update, as necessary.
    Although only a minor revision, the additional guidance should be useful for staff of ENA Member Companies
4

## Slide 5: ENA EREC G43 Issue 5 2025 Revision Summary
 | Rating | Assessment
Safety | Nil | 
Environment | Nil | 
Financial (costs/benefits) | Nil | 
Asset Quality & Performance | Nil | 
Statutory/ Regulatory | Minor | Use of OFGEM RIIO-ED2.
Reputation | Nil | 
Impact Assessment
5

## Slide 6: ENA EREC G43 Issue 5 2025 Revision Summary
Summary and Actions
    ENA EREC G43 Issue 5 2025 is a minor revision of Issue 4.
    ENA Member Companies to review their relevant documentation and operating procedures for reporting electrical network faults to NaFIRs.
    The document is available from the ENA Engineering Catalogue at www.energynetworks.org.
6

## Slide 7
© ENA 2020
7