## Slide 1: Energy Networks Association
ENA EREC M30 Issue 3 2026
Revision Summary
7th July 2026

## Slide 2: ENA EREC M30 Issue 3 2026 Revision Summary
Standard Electricity Network Operator Electricity Smart Meter Configurations
Specifies a set of standard configurations for electricity smart meters
  SCOPE
    Applies to DNOs, smart meter manufacturers and suppliers.
    It specifies a set of standard configurations for electricity smart meters configurations relating to DNO functionality that should be applied at the time of commissioning.
  HISTORY
    1st Issue: 2016
    2nd Issue: 2018
    3rd Issue: 2026
DOCUMENT PURPOSE
2

## Slide 3: ENA EREC M30 Issue 3 2026 Revision Summary
Summary of Amendments
    Update to references.
    Scope updated to clarify configurations apply at the time of commissioning.
    Reference to department for Business, Energy & Industrial Strategy (BEIS) removed.
    Reference to the Great Britain Companion Specification (GBCS) Table 28a and 28b added.
    Reference to previous versions of the GBCS removed
    Update to references.
    Updated to recognise that the configurations are included in the Great Britain Companion Specification (GBCS) following the implementation of SECMP0018.
Medium
Key Points
Nature of Revision
3

## Slide 4: ENA EREC M30 Issue 3 2026 Revision Summary
Who is affected and why?
    Primarily, DNOs, smart meter manufacturers and suppliers who are tasked with applying the settings as part of the commissioning process.
    DNO: Review relevant specification documents against the amended requirements in the revised document.
    Manufacturers and suppliers: Ensure their products are consistent with this revised document.
    A medium revision was completed, the additional guidance should be useful for staff of DNOs, smart meter manufacturers and suppliers.
4

## Slide 5: ENA EREC M30 Issue 3 2026 Revision Summary
 | Rating | Assessment
Safety | Nill | 
Environment | Nil | 
Financial (costs/benefits) | Nil | 
Asset Quality & Performance | 1 | Negligible.
Statutory/ Regulatory | 1 | Negligible.
Reputation | 1 | Negligible.
Impact Assessment
5

## Slide 6: ENA EREC M30 Issue 3 2026 Revision Summary
Summary and Actions
    ENA EREC M30 Issue 3 2026 is a medium revision of Issue 2.
    DNOs to review relevant specification documents against the amended requirements in the revised document.
    Manufacturers and suppliers to ensure configurations are consistent with this revised document.
    The document is available from the ENA Engineering Catalogue at www.energynetworks.org.
6

## Slide 7
© ENA 2026
7