## Slide 1: Energy Networks Association
ENA TS 41-40 Issue 2 2026
Revision Summary
11th June 2026

## Slide 2: ENA TS 41-40 Issue 2 2026 Revision Summary
Ground Mounted Major Substation 12 to 36 kV Rated Indoor Fixed Pattern Switchgear
Provides guidance on some of the issues likely to arise when considering the use of prefabricated substation solutions or when specifying a prefabricated substation.
  SCOPE
    This ENA TS defines technical requirements for high voltage (HV), ground mounted indoor fixed pattern type metal enclosed switchgear rated at voltages within the range 12 kV to 36 kV, for use on 11 kV, 20 kV and 33 kV systems for operation at a service frequency of 50 Hz.
  HISTORY
    1st Issue: 2018
    2nd Issue: June 2026 – Minor revision
DOCUMENT PURPOSE
2

## Slide 3
Summary of Amendments
    Issue 2 has been amended to principally include reference to VDIS.
    National and International standard references updated
    General normative references updated
    Specific reference to ENA TS 41-36 removed
    Alignment with BS EN IEC Standards
    Normative references updated
    Reference to VDIS added
Minor
Key Points
Nature of Revision
3
ENA TS 41-40 Issue 2 2026 Revision Summary

## Slide 4: ENA TS 41-40 Issue 2 2026 Revision Summary
Who is affected and why?
    Primarily, staff who are tasked with the specification, procurement, approval, use, storage, transport, and inspection of Ground Mounted Major Substation 12 to 36 kV Rated Indoor Fixed Pattern Switchgear.
    ENA Member Companies should review their relevant documentation and update, as necessary.
    Although only a minor revision, the referencing and content should be useful for staff of ENA Member Companies
4

## Slide 5
Impact Assessment
5
ENA TS 41-40 Issue 2 2026 Revision Summary
 | Rating | Assessment
Safety | Low | No significant impact on safety
Environment | Low | No significant impact on environment
Financial (costs/benefits) | Low | No significant impact on costs
Asset Quality & Performance | Nil | 
Statutory/ Regulatory | Nil | Statutory requirements unchanged
Reputation | Nil | 

## Slide 6
Summary and Actions
    ENA TS 41-40 Issue 2 2026 is a minor revision of Issue 1
    ENA MCs should review and update as required, their relevant documentation relating to the specification and procurement of prefabricated substations.
    The document is available from the ENA Engineering Catalogue at www.energynetworks.org.
6
ENA-TS 41-40 Issue 2 2026 Revision Summary

## Slide 7
© ENA 2026
7