## Slide 1: Energy Networks Association
ENA TS 48-6-8 Issue 2 2020
Revision Summary
14 September 2021

## Slide 2: ENA TS 48-6-8 Issue 2 2020 Revision Summary
Functional Test Requirements – Frequency Protection
To specify the functional test requirements for frequency protection schemes
  SCOPE
    To detail the functional test requirements for frequency protection schemes in newly introduced relays.
    Previously scope was for loss of mains protection only.
    To detail the information to be provided to the ENA Member Companies by the manufacturer/supplier.
    This ENA TS applies to protection equipment intended for use in the UK Electricity Supply Industry.
  HISTORY
    First published in 2004
    Major revision in 2020
DOCUMENT PURPOSE
2

## Slide 3: ENA TS 48-6-8 Issue 2 2020 Revision Summary
Summary of Amendments
    Major revision to cover all aspects of frequency protection and re-formatted to latest ENA document template
    Title of document changed from ‘Loss of Mains’ to ‘Frequency’ Protection
    Document still retains testing of Loss of Mains protection
    Update to list of relevant IEC and ENA standards
    Terms and definitions section added
    Update to list of information to be submitted for assessment
    Requirement for manufacturer to submit environmental test statement
    New section to tests to demonstrate compliance of LFDD requirements of UK Grid Code
    New section to test compliance with ENA EREC G99
    Additional requirements to demonstrate correct protection performance coinciding with data exchange either via SCADA or HMI
    New section to demonstrate compliance to IEC communication protocols and cyber security standards
    Compliments ENA TS 48-6-5, Voltage Protection
First issued 2012
Major technical changes
Document name change to frequency protection
Compliance with cyber security standards
Compliance with ENA EREC G99
Compliance with UK Grid Code
Normative references updated
Revision overseen by ENA PAP
Major
Key Points
Nature of Revision
3

## Slide 4: ENA TS 48-6-8 Issue 2 2020 Revision Summary
Who is affected and why?
    ENA Member Company staff who are responsible for the specification and assessment of newly introduced protection relays
    Manufacturers/Suppliers of protection relays
4

## Slide 5: ENA TS 48-6-8 Issue 2 2020 Revision Summary
 | Rating | Assessment
Safety | Nil | No changes to safety guidance
Environment | Nil | No environmental impacts
Financial (costs/benefits) | Nil | No identified associated costs or savings identified
Asset Quality & Performance | Nil | No impact on the quality or performance of ENA Member Company systems or networks
Statutory/ Regulatory | Negligible | Statutory requirements are still current - no significant changes
Reputation | Nil | No impact on ENA member companies reputation
Impact Assessment
5

## Slide 6
© ENA 2020
6