## Slide 1: Energy Networks Association
ENA EREC G84 Issue 3 2019
Revision Summary
14 September 2021

## Slide 2: ENA EREC G84 Issue 3 2019 Revision Summary
Recommendations for the connection of mobile Generating Sets to public distribution networks
Guidance document to be used by Distribution Network Operators for the temporary connection of mobile Generating Sets that are under their control
  SCOPE
    Recommended working procedures for the connection of small portable Generating Sets and larger mobile Generating Sets for the purposes of providing a temporary supply to customers or for network support. It addresses direct connections to the Low Voltage network and connections via a Step-up Unit to the High Voltage network.
  HISTORY
    1st issued 2005
    Last revised 2013
    Minor revision 2019, as detailed overleaf
DOCUMENT PURPOSE
2

## Slide 3: ENA EREC G84 Issue 3 2019 Revision Summary
Summary of Amendments
    Requirements for “loss-of-mains” protection amended to comply with ENA EREC G99.
    Generation sets must be registered on the ENA Type Test Verification Report Register
    Protection settings updated to reflect use of 230 V supply voltage and the settings in ENA EREC G99
    Clarification of procedures to be carried out prior to opening a transformer LV link
To incorporate the requirements of ENA EREC G99
To bring the content up-to-date in order to ensure that the guidance remains valid
Minor
Key Points
Nature of Revision
3

## Slide 4: ENA EREC G84 Issue 3 2019 Revision Summary
Who is affected and why?
    ENA Member Companies should review working procedures for the connection of Generating Sets against the revised EREC G84 and update, as necessary
4
    The document incorporates requirements to satisfy the Energy Networks Association's (ENA) Distributed Energy Resource connection standards, implemented to comply with a change in European law.
    From 27 April 2019, all generating equipment connected to any electricity distribution network, regardless of whether that network is owned by a Distribution Network Operator or by an Independent Distribution Network Operator (IDNO), must comply with the requirements of the ENA EREC G98 and ENA EREC G99.

## Slide 5: ENA EREC G84 Issue 3 2019 Revision Summary
Impact Assessment
5
 | Rating | Assessment
Safety | Minor | Updated guidance to assist in improving safety
Environment | Nil | Environmental impacts unchanged
Financial (costs/benefits) | Negligible | Manufacturers’ are required by law to supply Generating Sets that comply with EU legislation
Asset Quality & Performance | Nil | 
Statutory/ Regulatory | Minor | Statutory/regulatory changes may require some changes to purchasing and operating procedures
Reputation | Nil | 

## Slide 6: ENA EREC G84 Issue 3 2019 Revision Summary
Summary and Actions
    ENA EREC G84 Issue 3 2019 is a Minor revision
    ENA Member Companies to review their operating procedures for Generating Sets against the revised EREC G84 and update, as necessary
6
    The document is available from the ENA Engineering Catalogue at www.energynetworks.org.

## Slide 7
© ENA 2020
7