## Slide 1: Energy Networks Association
ENA EREC L44 Issue 2 2025
Revision Summary
3 February 2025

## Slide 2: ENA EREC L44 Issue 2 2025 Revision Summary
Separation between Wind Turbines and Overhead Lines: Principles of Good Practice
Provides appropriate guidance for Participating Companies when considering appropriate separation between Wind Turbines and Overhead Lines.
  SCOPE
    This EREC shall apply to all designs of wind turbines and overhead lines of all voltages and considers three principal areas:
  Toppling distances of wind turbines.
  Wake effects on overhead lines.
  Planning and maintenance.
    This EREC does not cover building mounted turbines.
  HISTORY
    1st Issue: August 2012 – Published
DOCUMENT PURPOSE
2

## Slide 3: ENA EREC L44 Issue 2 2025 Revision Summary
Summary of Amendments
    Normative references. Addition of BS EN 50341-2-4 to Standards publications. General updating of all references.
    Terms and definitions. Addition of ‘CFD’, ‘Separation distance’ and ‘Wake’. Capitalisation of terms and definitions amended to align with EREC G0.
    Wake effects. Significant overhaul of section to focus on methodology to incorporate German NNA document calculation and inclusion of diagram to explain the proposed assessment of the Separation distance. As well as amendments to Risk Mitigation measures.
    Conductor icing. Addition of NEW clause on Conductor Icing as added risk assessment category.
Amendment to references.
Significant change to wake effects assessment to include quantitative methodology taken from German NNA document.
Medium
Key Points
Nature of Revision
3

## Slide 4: ENA EREC L44 Issue 2 2025 Revision Summary
Who is affected and why?
    Primarily, staff, who are tasked with reporting electrical network faults to NaFIRs. ENA Member Companies should review their relevant documentation and update, as necessary.
    Although only a minor revision, the additional guidance should be useful for staff of ENA Member Companies
4

## Slide 5: ENA EREC L44 Issue 2 2025 Revision Summary
 | Rating | Assessment
Safety | Nil | 
Environment | Nil | 
Financial (costs/benefits) | Nil | 
Asset Quality & Performance | Medium | Change to assessment procedure to consider wake effects and impact on assets.
Statutory/ Regulatory | Nil | 
Reputation | Nil | 
Impact Assessment
5

## Slide 6: ENA EREC L44 Issue 2 2025 Revision Summary
Summary and Actions
    ENA EREC L44 Issue 2 2025 is a medium revision of Issue 1.
    ENA Member Companies to review their relevant documentation regarding separation between wind turbines and overhead lines.
    The document is available from the ENA Engineering Catalogue at www.energynetworks.org.
6

## Slide 7
© ENA 2020
7