## Slide 1: Energy Networks Association
ENA EREC TELE.3 Issue 2 2025
Revision Summary
21 January 2025

## Slide 2: ENA EREC TELE.3 Issue 2 2025 Revision Summary
Code of practice for overhead to underground optical cable connections
Code of practice describing overhead to underground connections for optical cable systems on overhead power lines. The document presents typical installation systems and considers both new build and retrofit situations.
  SCOPE
    Describes overhead to underground connections for optical cable systems on overhead power lines. The engineering and security requirements for existing and new cable installations from ground level, or the first chamber if in the vicinity of the tower or pole, up to the splice enclosure are considered. Environmental and mechanical requirements of splice enclosures are also considered.
    Testing of the installations mentioned in this document, splicing arrangements and fibre management within the splice enclosure are beyond the scope of this document.
  HISTORY
    1st Issue: March 2016 - Published
DOCUMENT PURPOSE
2

## Slide 3: ENA EREC TELE.3 Issue 2 2025 Revision Summary
Summary of Amendments
    All reference to ENA TS 43-126 Parts 1 to 4 changed to ENA TS 43-126.
    Clarity that testing is not included in the scope of the document.
    Update to references and gender neutral references in several places of the text.
    Reference to CPNI , this has now been replaced by National Protective Security Authority (NPSA).
    Figure 1 updated to include the relevant keys e.g. OPGW and the splice location.
    Deletion of note in Table 1 with approximate fabricated system component cost of £200/tower.
    Addition of consideration for use of IP67 in areas prone to flooding included in Clause 7.1.1.
    Removal of both documents in bibliography as not referenced.
Scope clarified to not include testing of installations.
General update to terms, definitions and references throughout the document.
Medium
Key Points
Nature of Revision
3

## Slide 4: ENA EREC TELE.3 Issue 2 2025 Revision Summary
Who is affected and why?
    Primarily, staff, who are tasked with the design and installation of optical cable connections on overhead power lines. ENA Member Companies should review their relevant documentation and update, as necessary.
    Although only a medium revision, the additional guidance should be useful for staff of ENA Member Companies
4

## Slide 5: ENA EREC TELE.3 Issue 2 2025 Revision Summary
 | Rating | Assessment
Safety | Nil | 
Environment | Nil | 
Financial (costs/benefits) | Nil | 
Asset Quality & Performance | Nil | 
Statutory/ Regulatory | Minor | Minor amendments to references in document.
Reputation | Nil | 
Impact Assessment
5

## Slide 6: ENA EREC TELE.3 Issue 2 2025 Revision Summary
Summary and Actions
    ENA EREC TELE.3 Issue 2 2025 is a medium revision of Issue 1.
    ENA Member Companies to review their relevant documentation and operating procedures for the design and installation of optical cable connections on overhead power lines.
    The document is available from the ENA Engineering Catalogue at www.energynetworks.org.
6

## Slide 7
© ENA 2020
7