## Slide 1: Energy Networks Association
ENA EREC TELE.4 Issue 2 2025
Revision Summary
5 January 2025

## Slide 2: ENA EREC TELE.4 Issue 2 2025 Revision Summary
Code of practice for the installation of ADSS optical cable
Code of practice for ENAMC staff who design and plan the installation of ADSS optical cables on OHL routes.
  SCOPE
    Describes particular technical and design issues to be considered for ADSS cables prior to the installation process. Both wood pole and tower lines for temporary and permanent installation are covered.
    This document does not describe the installation procedures to be followed.
  HISTORY
    1st Issue: March 2016 - Published
DOCUMENT PURPOSE
2

## Slide 3: ENA EREC TELE.4 Issue 2 2025 Revision Summary
Summary of Amendments
    Update to references
    Addition on internal/external clearance in all weather conditions.
    Addition of wording that ‘Increasing loading might comprise residual strength in supports and pole foundation should not represent a problem for the additional ADSS cable (s)’.
    Addition of note for equation to clarify radial ice thickness not accounted.
    Addition of capacitive coupling of phase conductors and electric fields.
    Addition of the sentence, ‘It should be noted that the maximum sag of the ADSS will likely occur at minimum temperature commensurate with maximum radial ice thickness. Such sagging data should then be used to assess for suitable clearances.’
Update to references.
Additions to clarify clearance, ice loading and capacitive coupling of conductors.
Medium
Key Points
Nature of Revision
3

## Slide 4: ENA EREC TELE.4 Issue 2 2025 Revision Summary
Who is affected and why?
    Primarily, staff, who are tasked with designing and planning the installation of ADSS optical cables on OHL routes. ENA Member Companies should review their relevant documentation and update, as necessary.
    Although only a medium revision, the additional guidance should be useful for staff of ENA Member Companies
4

## Slide 5: ENA EREC TELE.4 Issue 2 2025 Revision Summary
 | Rating | Assessment
Safety | Nil | 
Environment | Nil | 
Financial (costs/benefits) | Nil | 
Asset Quality & Performance | Nil | 
Statutory/ Regulatory | Minor | Minor amendments to references in document.
Reputation | Nil | 
Impact Assessment
5

## Slide 6: ENA EREC TELE.4 Issue 2 2025 Revision Summary
Summary and Actions
    ENA EREC TELE.4 Issue 2 2025 is a medium revision of Issue 1.
    ENA Member Companies to review their relevant documentation and operating procedures for designing and planning the installation of ADSS optical cables on OHL routes.
    The document is available from the ENA Engineering Catalogue at www.energynetworks.org.
6

## Slide 7
© ENA 2020
7