## Slide 1: Energy Networks Association
ENA TS 09-23 Issue 3 2026
Revision Summary
24th March 2026

## Slide 2: ENA TS 09-23 Issue 3 2026 Revision Summary
LV link boxes
Details the performance requirements for LV link boxes
  SCOPE
    This EREC specifies the performance requirements and the test methods for routine and type testing of underground link boxes for use with LV cables.
  HISTORY
    1st Issue: 2014
    2nd Issue: January 2018
    3rd Issue: March 2026
DOCUMENT PURPOSE
2

## Slide 3: ENA TS 09-23 Issue 3 2026 Revision Summary
Summary of Amendments
    Clause 4.9: New paragraph added to clarify which lock is required by the ENAMC,
    New Clause 4.10: Includes smart technologies within the link box, and whether they (smart technologies) affect the performance of the link box and require are test of the link box.
    Clause 7.1: Paragraph added that ENAMC may wish to review is any modifications are undertaken, such as the installation of smart technologies may affect the operational performance of the link box such, that the tests listed within this documented have to be reviewed, and possibly re undertaken with the smart technology components fitted.
    Clause 8.3: Sentence added to confirm, which components should be fitted during the tests: bell housing and turret if integral and clarification that fuses/links should be inserted/removed after the cantilever tests.
    Clause 4.9 addition of new paragraph for lock
    Clause 4.10 new clause about smart technologies in link boxes.
    Clause 7.1 addition of impact of smart technologies to performance of link box.
    Clause 8.3 clarification on components fitted during testing.
Medium
Key Points
Nature of Revision
3

## Slide 4: ENA TS 09-23 Issue 3 2026 Revision Summary
Who is affected and why?
    Primarily, staff who are tasked with LV link box design and installation and ensuring that ENAMC are aligning to this EREC. ENA Member Companies should review their relevant documentation and update, as necessary.
    A medium revision was completed, the additional guidance should be useful for staff of ENA Member Companies
4

## Slide 5: ENA TS 09-23 Issue 3 2026 Revision Summary
 | Rating | Assessment
Safety | 1 | No significant issues identified with continued use of LV underground link boxes.
Environment | Nil | 
Financial (costs/benefits) | Nil | 
Asset Quality & Performance | Nil | 
Statutory/ Regulatory | 1 | No significant issues identified with continued use of the existing LV underground link boxes.
Reputation | Nil | 
Impact Assessment
5

## Slide 6: ENA TS 09-23 Issue 3 2026 Revision Summary
Summary and Actions
    ENA TS 09-23 Issue 3 2026 is a medium revision of Issue 2.
    ENA Member Companies to review and update their cable documents.
    The document is available from the ENA Engineering Catalogue at www.energynetworks.org.
6

## Slide 7
© ENA 2026
7