## Slide 1: Energy Networks Association
ENA TS 09-22 Issue 3 2026
Revision Summary
24th March 2026

## Slide 2: ENA TS 09-22 Issue 3 2026 Revision Summary
Protection of cable installations, in-air, against the effects of fire
Details the protection of cable installations, in-air, against the effects of fire
  SCOPE
    This EREC specifies the general rules for polymeric cables installed in-air for distribution and transmission systems.
  HISTORY
    1st Issue: 1997
    2nd Issue: October 2019
    3rd Issue: March 2026
DOCUMENT PURPOSE
2

## Slide 3: ENA TS 09-22 Issue 3 2026 Revision Summary
Summary of Amendments
    Minor editorial amendments throughout the document
    Annex A.2: Updated to clarify the application of UKCA Marking.
    Minor editorial amendments
    Annex A.2 changed to include UKCA marking.
Medium
Key Points
Nature of Revision
3

## Slide 4: ENA TS 09-22 Issue 3 2026 Revision Summary
Who is affected and why?
    Primarily, staff who are tasked with cable design and installation and ensuring that ENAMC are aligning to this EREC. ENA Member Companies should review their relevant documentation and update, as necessary.
    A medium revision was completed, the additional guidance should be useful for staff of ENA Member Companies
4

## Slide 5: ENA TS 09-22 Issue 3 2026 Revision Summary
 | Rating | Assessment
Safety | Nil | 
Environment | Nil | 
Financial (costs/benefits) | Nil | 
Asset Quality & Performance | Nil | 
Statutory/ Regulatory | 1 | UKCA Marking now applicable as per the CP Regulation.
Reputation | Nil | 
Impact Assessment
5

## Slide 6: ENA TS 09-22 Issue 3 2026 Revision Summary
Summary and Actions
    ENA TS 09-22 Issue 3 2026 is a medium revision of Issue 2.
    ENA Member Companies to review and update their cable installation/design documents.
    The document is available from the ENA Engineering Catalogue at www.energynetworks.org.
6

## Slide 7
© ENA 2026
7