## Slide 1: Energy Networks Association
ENA TS 12-24 Issue 4 2021
Revision Summary
25 February 2021

## Slide 2: ENA TS 12-24 Issue 4 2021 Revision Summary
Technical specification for plastic ducts for buried electric cables
Defines the essential performance requirements for circular section plastic ducts to meet the requirements of the Electricity Industry that supplement or modify the corresponding clauses in BS EN 61386 parts 1 and 24
  SCOPE
  Essential performance requirements and limiting dimensions, for coilable and non-coilable, plain or corrugated wall, circular cross section, extruded plastics cable ducts.
  HISTORY
  1st issued: not known
  2014: Major revision of Issue 2 to reflect changes in BSI Standards and the addition of new duct classification (Class 1+) for directional drilling/trenchless installation applications.
  2021: Minor revision as detailed overleaf
PURPOSE

## Slide 3: ENA TS 12-24 Issue 4 2021 Revision Summary
Summary of Amendments
  Copolymers of polypropylene added to list of permissible materials
  Additional options for duct marking
  Additional requirement that spigot ends be radiused
  Removal of option for compliance using tests with an equivalent force at 23°C, as an alternative to testing at 75/50°C
Minor changes to requirements
Removal of option for compliance using tests with an equivalent force at 23ºC, as an alternative to testing at 75/50ºC
Minor
Key Points
Nature of Revision

## Slide 4: ENA TS 12-24 Issue 4 2021 Revision Summary
Who is affected and why?
  Staff, who are tasked with the procurement of plastic ducts for buried electric cables
  ENA Member Companies should review their relevant procurement specification in relation to the amended requirements and update, as necessary

## Slide 5: ENA TS 12-24 Issue 4 2021 Revision Summary
 | Rating | Assessment
Safety | Nil | 
Environment | Nil | 
Financial (costs/benefits) | Minor | Additional requirement that spigot ends be radiused may increase price
Asset Quality & Performance | Minor | Potential for small reduction in cable damage during installation
Statutory/ Regulatory | Nil | Statutory requirements unchanged
Reputation | Nil | 
Impact Assessment

## Slide 6: ENA TS 12-24 Issue 4 2021 Revision Summary
Summary and Actions
  ENA TS 12-24 Issue 4 2021 is a minor revision of Issue 3
  ENA Member Companies review their relevant procurement documentation of plastic ducts for buried electric cables
    The document is available from the ENA Engineering Catalogue at www.energynetworks.org.

## Slide 7
© ENA 2020