## Slide 1: Energy Networks Association
ENA TS 12-4 Issue 3 2021
Revision Summary
04 October 2021

## Slide 2: ENA TS 12-4 Issue 3 2021 Revision Summary
Terminating equipment for pilot cables subject to induced transient voltages exceeding 650 V r.m.s.
To specify the design parameters for terminating equipment subject to induced transient voltages and specify the installation requirements
  SCOPE
  To specify the design parameters and installation requirements for indoor type terminal boxes, and barrier equipment accommodation and connections, for pilot cables subject to induced transient voltages above 650 V r.m.s. but not exceeding 15 kV r.m.s.
  HISTORY
  1st issued: not known
  2014: Major revision to add requirements for termination of fibre optic pilot cables
  2021: Minor revision as detailed overleaf
PURPOSE

## Slide 3: ENA TS 12-2 Issue 3 2021 Revision Summary
Summary of Amendments
  Guidance note added to assist users to determine cases where the induced voltage in the pilot cables may be higher than 15 kV and so the equipment specified may not provide adequate protection
No changes to technical requirements
Minor
Key Points
Nature of Revision

## Slide 4: ENA TS 12-4 Issue 3 2021 Revision Summary
Who is affected and why?
  Staff, who are tasked with the procurement and installation of Terminating equipment for pilot cables
  Relevant staff should be advised of guidance note added that assists users to determine cases where the induced voltage in the pilot cables may be higher than 15 kV

## Slide 5: ENA TS 12-4 Issue 3 2021 Revision Summary
 | Rating | Assessment
Safety | Minor | Use of guidance note may assist in avoiding inappropriate installation of equipment
Environment | Nil | No changes to requirements
Financial (costs/benefits) | Nil | No changes to requirements
Asset Quality & Performance | Nil | No changes to requirements
Statutory/ Regulatory | Nil | No changes to requirements
Reputation | Nil | No changes to requirements
Impact Assessment

## Slide 6: ENA TS 12-4 Issue 3 2021 Revision Summary
Summary and Actions
  ENA TS 12-4 Issue 2021 is a minor revision of Issue 2
  Guidance note added to assist users to determine cases where the induced voltage in the pilot cables may be higher than 15 kV and so the equipment specified may not provide adequate protection
  Relevant staff should be made aware of the addition of the guidance note
    The document is available from the ENA Engineering Catalogue at www.energynetworks.org.

## Slide 7
© ENA 2021