## Slide 1: Energy Networks Association
ENA TS 43-93 Issue 6 2025
Revision Summary
September 2025

## Slide 2: ENA TS 43-93 Issue 6 2025 Revision Summary
Line Insulators
TS 43-93 describes requirements for line insulators to be used on pole overhead systems. The document references key normative standards (BS EN 60383, BS EN 61109, BS EN 61952 and IEC/TS 60815). It covers insulators constructed from composite, porcelain, glass and thermoplastic.
  SCOPE
  HV line insulators up to 132 kV are covered
  LV line and service insulators are covered
  Requirements for materials are specified
  Standard applications (e.g. pin, tension, and post) are described including dimensions
  Requirements for testing are specified
  Pollution performance is specified
  Mechanical performance is specified
  HISTORY
    1st issued: Not known
    Previous revision - Issue 5 in 2018
DOCUMENT PURPOSE
2

## Slide 3
Summary of Amendments
    Normative references and bibliography documents have been updated to reflect current issue status.
    Terms and definitions updated to align with BS EN 60383-1:2023.
    New Clause 6.6 added to describe specific tests for thermoplastic insulators.
    The tests for thermoplastic insulators now focus on evidence of ‘void free’ construction and evidence of required performance in coastal/high pollution regions.
Normative references updated
Terms and definitions updated
Tests for thermoplastic insulators updated
Minor
Key Points
Nature of Revision
3
ENA TS 43-93 Issue 6 2025 Revision Summary

## Slide 4
Who is affected and why?
    ENA Member Companies should review their purchase specification requirements for thermoplastic insulators
    Manufacturers/Suppliers should review their tests for thermoplastic insulators
    The changes made to TS 43-93 enhance the test requirements for thermoplastic insulators
4
ENA TS 43-93 Issue 6 2025 Revision Summary

## Slide 5
 | Rating | Assessment
Safety | Nil | 
Environment | Nil | 
Financial (costs/benefits) | Minor | Performance requirements for thermoplastic insulators have been improved
Asset Quality & Performance | Minor | Performance requirements for thermoplastic insulators have been improved
Statutory/ Regulatory | Nil | 
Reputation | Minor | Performance requirements for thermoplastic insulators have been improved
Impact Assessment
5
ENA TS 43-93 Issue 6 2025 Revision Summary

## Slide 6
© ENA 2020
6