## Slide 1: Energy Networks Association
ENA TS 48-6-2 Issue 3 2026
Revision Summary
17th April 2026

## Slide 2: ENA TS 48-6-2 Issue 3 2026 Revision Summary
Functional Test Requirements – Line Differential Protection
Details functional test requirements for line differential protection schemes.
  SCOPE
    This ENA TS details functional test requirements for line differential (unit) protection schemes in newly introduced relays or devices, as required by the ENA PAP. It also details the information to be provided to the ENA PAP by the manufacturer/supplier.
  HISTORY
    1st Issue: 2004
    2nd Issue: August 2020
    3rd Issue: February 2026
DOCUMENT PURPOSE
2

## Slide 3: ENA TS 48-6-2 Issue 3 2026 Revision Summary
Summary of Amendments
    Use of the word ‘device’ added when reference to ‘relay’ throughout the document in order to broaden the scope of a functional specification.
    General update to references.
    Clause 6.1 – Addition of requirement to repeat test points 5 times.
    Clause 6.3.6 – New clause for COMTRADE file testing.
    Addition of New Annex B and D for clause-by-clause compliance
    Creation of associated spreadsheet for Annex C dynamic tests.
    Update to references.
    Greater alignment for Clause 6.1 and 6.3.6 to other TS 48-6 docs. Also, alignment for Annex B and D.
Medium
Key Points
Nature of Revision
3

## Slide 4: ENA TS 48-6-2 Issue 3 2026 Revision Summary
Who is affected and why?
    Primarily, staff who are tasked with line differential (unit) protection schemes and outlining functional requirements for manufacturers. ENA Member Companies should review their relevant documentation and update, as necessary.
    A medium revision was completed, the additional guidance should be useful for staff of ENA Member Companies
4

## Slide 5: ENA TS 48-6-2 Issue 3 2026 Revision Summary
 | Rating | Assessment
Safety | Nil | 
Environment | Nil | 
Financial (costs/benefits) | Nil | 
Asset Quality & Performance | 1 | Minor amendments to testing approach/process to align to TS 48-6 documents.
Statutory/ Regulatory | Nil | 
Reputation | Nil | 
Impact Assessment
5

## Slide 6: ENA TS 48-6-2 Issue 3 2026 Revision Summary
Summary and Actions
    ENA TS 48-6-2 Issue 3 2026 is a medium revision of Issue 2.
    ENA Member Companies to review and update their functional requirements specifications for line differential (unit) protection schemes.
    The document is available from the ENA Engineering Catalogue at www.energynetworks.org.
6

## Slide 7
© ENA 2026
7