## Slide 1: Energy Networks Association
ENA TS 48-6-5 Issue 2 2020
Revision Summary
14 September 2021

## Slide 2: ENA TS 48-6-5 Issue 2 2020 Revision Summary
Functional Test Requirements – Voltage Protection
To specify the functional test requirements for voltage protection schemes
  SCOPE
    To detail the functional test requirements for voltage protection schemes in newly introduced relays.
    Previously scope also included frequency relays
    To detail the information to be provided to the ENA Member Companies by the manufacturer/supplier.
    This ENA TS applies to protection equipment intended for use in the UK Electricity Supply Industry.
  HISTORY
    First published in 2005
    Major revision in 2020
DOCUMENT PURPOSE
2

## Slide 3: ENA TS 48-6-5 Issue 2 2020 Revision Summary
Summary of Amendments
    Major revision and re-formatted to latest ENA document template
    Scope of document changed to remove references to frequency protection which is now included in ENA TS 48-6-8
    Update to list of relevant IEC and ENA standards
    Terms and definitions section added
    Update to list of information to be submitted for assessment
    Requirement for manufacturer to submit environmental test statement
    Requirement to repeat all test points 5 times
    Additional requirements to demonstrate correct relay performance coinciding with data exchange either via SCADA or HMI
    New section to test compliance with ENA EREC G99
    New section to demonstrate compliance to IEC communication protocols and cyber security standards
First issued 2005
Document name change
References to frequency protection removed
Compliance with cyber security standards
Compliance with ENA EREC G99
Normative references updated
Revision overseen by ENA PAP
Major
Key Points
Nature of Revision
3

## Slide 4: ENA TS 48-6-5 Issue 2 2020 Revision Summary
Who is affected and why?
    ENA Member Company staff who are responsible for the specification and assessment of newly introduced protection relays
    Manufacturers/Suppliers of protection relays
4

## Slide 5: ENA TS 48-6-5 Issue 2 2020 Revision Summary
 | Rating | Assessment
Safety | Nil | No changes to safety guidance
Environment | Nil | No environmental impacts
Financial (costs/benefits) | Nil | No identified associated costs or savings identified
Asset Quality & Performance | Nil | No impact on the quality or performance of ENA Member Company systems or networks
Statutory/ Regulatory | Negligible | Statutory requirements are still current - no significant changes
Reputation | Nil | No impact on ENA member companies reputation
Impact Assessment
5

## Slide 6
© ENA 2020
6