## A1_Summary
Heat Pump Type Register Number | Make | Model | Model Reference | Function |  | Phases | Voltage (V) | Total Heat Pump System (Input) Rated Current (A) | Total Heat Pump System (Input) Rated Power (kVA) | Total Heat Pump System Maximum Demand (A)) | Total Heat Pump System Maximum Demand (kVA) | Module Reference | Module | Module Input Rated Current (A) | Module Input Rated Power (kVA) | CE Declaration of Conformity |  | Standards Cited on CE Declaration of Conformity |  | Manufacturer's EMC Test Report |  | For Connection Design Purposes, Compliant with |  |  |  | Total Heat Pump System Maximum Demand ≤32A? | Connect & Notify? | Apply to Connect? | Manufacturer's Documentation | Manufacturer's Documentation Declaration |  |  |  |  | External Back-up Heater |  |  | External Supplementary (boost) Heater |  |  | External Water (immersion) Heater
[5 empty] | Heat Pump Type | [10 empty] | Filename | Document/Certificate Number | Harmonic Standards | Voltage Fluctuation/ Flicker Standards | Filename | Document Number | Class A limits of IEC 61000-3-2? | Technical Requirements of IEC 61000-3-3? | Both Standards? | Both Standards for All Parts of System? |  |  |  |  | In accordance with EN 61000-3-12 | Ssc min 3-phase (kVA) | Ssc min single-phase (kVA) | In accordance with EN 61000-3-12 | Zmax (Ω) | Facility to control via heat pump? | Capable of limiting maximum current? | Maximum current limit (A) | Facility to control via heat pump? | Capable of limiting maximum current? | Maximum current limit (A) | Facility to control via heat pump? | Capable of limiting maximum current? | Maximum current limit (A)
HP_xxxx | Daikin | Altherma Monobloc | EDLQ07CAV3+EKCB07CV3+EKHWSU-B3V3 |  | Air Source | 1 | 230 | 31.04 | 7.14 | 31.04 |  |  | Whole system | 31.04 | 7.14 | DoC14W900-1ZK |  | EN 61000-3-2 | EN 61000-3-3 |  |  | Yes | Yes | Yes |  | Yes |  | Yes | Form A - EDLQ07CAV3 + EKCB07CV3 + EKHWSU-B3V3.doc
| Baxi | Assure | Mono 12 | Heating & Cooling | Air Source | 1 | 230 | 26.8 | 6.1 | 26.8 | 6.1 | Assure Mono 12 | Heat pump | 26.8 | 6.1 | Baxi Assure Monobloc DoC 12_16kW.pdf | Ref: 500-2 | EN 61000-3-12 | EN 61000-3-11 | EMC Test Report on Monobloc Midea Heat Pump.pdf | 64.711.18.05280.01 | Yes | Yes | Yes | Yes | Yes | Yes | No | Baxi Assure Mono Installation Instructions | Equipment complying with IEC 61000-3-12 |  | 227.5 | Equipment complying with IEC 61000-3-3 technical requirements | N/A | Yes | No | 19.6 |  |  |  | Yes | No | 13
[22 empty] | Yes | Yes | Yes | Yes |  | No | Yes
Drop-down lists…
|  |  |  | Heating only | Air Source | 1 | 230 | [5 empty] | Whole system |  |  |  |  | EN 61000-3-12 | EN 61000-3-11 |  |  | Yes | Yes | [6 empty] | Equipment complying with IEC 61000-3-12 |  |  | Equipment complying with IEC 61000-3-3 technical requirements |  | Yes | Yes |  | Yes | Yes |  | Yes | Yes
|  |  |  | Heating & Cooling | Ground Source | Split | 400 | [5 empty] | Heat pump |  |  |  |  | EN 61000-3-2 | EN 61000-3-3 |  |  | No | No | [6 empty] | Equipment complying with IEC 61000-3-12 subject to minimum short-circuit power |  |  | Requires Zsource ≤Zmax |  | No | No |  | No | No |  | No | No
[5 empty] | Water Source | 3 | [6 empty] | Back-up heater - on-board |  |  |  |  | EN 61000-6-3 | EN 61000-6-3 |  |  | Unknown | Unknown | [6 empty] | Not applicable |  |  | Requires Service Current Capacity ≥100A per phase
[13 empty] | Back-up heater - external |  |  |  |  | EN 61000-6-4 | EN 61000-6-4 | [13 empty] | Not applicable
Supplementary (boost) heater - on-board
Supplementary (boost) heater - external
Water (immersion) heater - on-board
Water (immersion) heater - external

## A2_Data_=<16A
A2 DATA ENTRY SHEET - ≤16A
NOTE | Use this sheet to provide information for equipment compliant with IEC 61000-3-2 and IEC 61000-3-3.
DATA
Equipment
Make |  | Baxi
Model |  | Assure
Model Reference |  | Mono 12
Heat Pump Type
Phases
Voltage (V)
Total Heat Pump System (Input) Rated Current (A) |  | 26.8
Total Heat Pump System (Input) Rated Power (kVA) |  | 6.1
Module |  | Heat pump
Module Input Rated Current (A) |  | 26.8
Module Input Rated Power (kVA) |  | 6.1
Declaration of Conformity
CE Declaration of Conformity Filename |  | Baxi Assure Monobloc 12_16kW DoC.pdf
CE Declaration of Conformity Document/Certificate Number |  | Ref: 500-2
Standards Cited on CE Declaration of Conformity
Harmonic Standards |  | EN 61000-3-12
Voltage Fluctuation/Flicker Standards |  | EN 61000-3-11
Manufacturer's EMC Test Report Filename |  | EMC Test Report on Monobloc Midea Heat Pump.pdf
Manufacturer's EMC Test Report Document Number |  | 64.711.18.05280.01
Drop-down lists
Air Source
Ground Source
Water Source
1
Split
3
230
400
Whole system
Heat pump
Back-up heater - on-board
Back-up heater - external
Supplementary (boost) heater - on-board
Supplementary (boost) heater - external
Water (immersion) heater - on-board
Water (immersion) heater - external
EN 61000-3-12
EN 61000-3-2
EN 61000-6-3
EN 61000-6-4
EN 61000-3-11
EN 61000-3-3
EN 61000-6-3
EN 61000-6-4

## A3_Data_=<75A_Harmonics
A3 DATA ENTRY SHEET - ≤75A [Harmonics]
NOTE | Use this sheet to provide information and data for equipment falling within the scope of IEC 61000-3-12. This sheet is provided for all equipment types except those meeting Table 5 specified conditions (d), (e) and (f) in IEC 61000-3-12.
NOTE | To enable the Network Operator to offer the most economic electrical connection design to the connectee, it is necessary for the equipment manufacturer to provide the EMC test results against IEC 61000-3-12.
CONFIDENTIAL DATA
Equipment
Make |  |  |  | Baxi
Model |  |  |  | Assure
Model Reference |  |  |  | Mono 12
Heat Pump Type |  |  |  | Air Source
Phases |  |  |  | 1
Voltage (V) |  |  |  | 230
Total Heat Pump System (Input) Rated Current (A) |  |  |  | 26.8
Total Heat Pump System (Input) Rated Power (kVA) |  |  |  | 6.1
Module |  |  |  | Heat pump
Module Input Rated Current (A) |  |  |  | 26.8
Module Input Rated Power (kVA) |  |  |  | 6.1
Harmonic Current Emission Data
Phase | L1 |  | Phase | L2 |  | Phase | L3
| Current (A) |  |  | Current (A) |  |  | Current (A)
Iequ | 26.8 |  | Iequ |  |  | Iequ
Iref | 17.949 |  | Iref |  |  | Iref
| Current (A) | Ih/Iref (%) |  | Current (A) | Ih/Iref (%) |  | Current (A) | Ih/Iref (%)
RMS | 18.117 |  | RMS |  |  | RMS
Harmonic h | Ih (A) | Ih/Iref (%) | Harmonic h | Ih (A) | Ih/Iref (%) | Harmonic h | Ih (A) | Ih/Iref (%)
2 | 0.009 |  | 2 |  |  | 2
3 | 1.064 |  | 3 |  |  | 3
4 | 0.005 |  | 4 |  |  | 4
5 | 0.206 |  | 5 |  |  | 5
6 | 0.003 |  | 6 |  |  | 6
7 | 0.316 |  | 7 |  |  | 7
8 | 0.003 |  | 8 |  |  | 8
9 | 0.086 |  | 9 |  |  | 9
10 | 0.003 |  | 10 |  |  | 10
11 | 0.024 |  | 11 |  |  | 11
12 | 0.004 |  | 12 |  |  | 12
13 | 0.07 |  | 13 |  |  | 13
| THC/Iref (%) |  |  | THC/Iref (%) |  |  | THC/Iref (%)
THC | 6.4 |  | THC |  |  | THC
| PWHC/Iref (%) |  |  | PWHC/Iref (%) |  |  | PWHC/Iref (%)
PWHC | 0 |  | PWHC |  |  | PWHC
Manufacturer's EMC Test Report Filename |  |  |  | EMC Test Report on Monobloc Midea Heat Pump.pdf
Manufacturer's EMC Test Report Document Number |  |  |  | 64.711.18.05280.01
Manufacturer's Documentation Declaration
In accordance with EN 61000-3-12… | [5 empty] | Minimum short-circuit level, Ssc min (kVA)
Equipment complying with IEC 61000-3-12 | [5 empty] | 227.5
Declaration of Conformity
CE Declaration of Conformity Filename |  |  |  |  | Baxi Assure Monobloc 12_16kW DoC.pdf
CE Declaration of Conformity Document/Certificate Number |  |  |  |  | Ref: 500-2
Standards Cited on CE Declaration of Conformity
Harmonic Standards |  |  |  |  | EN 61000-3-12
Voltage Fluctuation/Flicker Standards |  |  |  |  | EN 61000-3-11
Manufacturer's Declaration for Connection Design Purposes
Statement | Emissions do not exceed Class A limits in IEC 61000-3-2
Drop-down lists
Air Source
Ground Source
Water Source
1
Split
3
230
400
Whole system
Heat pump
Back-up heater - on-board
Back-up heater - external
Supplementary (boost) heater - on-board
Supplementary (boost) heater - external
Water (immersion) heater - on-board
Water (immersion) heater - external
Equipment complying with IEC 61000-3-12
Equipment complying with IEC 61000-3-12 subject to minimum short-circuit power
EN 61000-3-12
EN 61000-3-2
EN 61000-6-3
EN 61000-6-4
EN 61000-3-11
EN 61000-3-3
EN 61000-6-3
EN 61000-6-4
Emissions do not exceed Class A limits in IEC 61000-3-2
Note on D90: Scarbro, Simon P.: Use Sheet A8 to provide supporting current emission data.

## A4_Data_=<75A_def_Harmonics
A4 DATA ENTRY SHEET - ≤75A (d/e/f) [Harmonics]
NOTE | Use this sheet to provide information and data for equipment falling within the scope of IEC 61000-3-12. This sheet is provided for equipment types meeting Table 5 specified conditions (d), (e) and (f) in IEC 61000-3-12.
NOTE | To enable the Network Operator to offer the most economic electrical connection design to the connectee, it is necessary for the equipment manufacturer to provide the EMC test results against IEC 61000-3-12.
CONFIDENTIAL DATA
Equipment
Make |  |  |  | Baxi
Model |  |  |  | Assure
Model Reference |  |  |  | Mono 12
Heat Pump Type |  |  |  | Air Source
Phases |  |  |  | 1
Voltage (V) |  |  |  | 230
Total Heat Pump System (Input) Rated Current (A) |  |  |  | 26.8
Total Heat Pump System (Input) Rated Power (kVA) |  |  |  | 6.1
Module |  |  |  | Heat pump
Module Input Rated Current (A) |  |  |  | 26.8
Module Input Rated Power (kVA) |  |  |  | 6.1
Harmonic Current Emission Data
Phase | L1 |  | Phase | L2 |  | Phase | L3
| Current (A) |  |  | Current (A) |  |  | Current (A)
Iequ | 26.8 |  | Iequ |  |  | Iequ
Iref | 17.949 |  | Iref |  |  | Iref
| Current (A) | Ih/Iref (%) |  | Current (A) | Ih/Iref (%) |  | Current (A) | Ih/Iref (%)
RMS | 18.117 |  | RMS |  |  | RMS
Harmonic h | Ih (A) | Ih/Iref (%) | Harmonic h | Ih (A) | Ih/Iref (%) | Harmonic h | Ih (A) | Ih/Iref (%)
2 | 0.009 |  | 2 |  |  | 2
3 | 1.064 |  | 3 |  |  | 3
4 | 0.005 |  | 4 |  |  | 4
5 | 0.206 |  | 5 |  |  | 5
6 | 0.003 |  | 6 |  |  | 6
7 | 0.316 |  | 7 |  |  | 7
8 | 0.003 |  | 8 |  |  | 8
9 | 0.086 |  | 9 |  |  | 9
10 | 0.003 |  | 10 |  |  | 10
11 | 0.024 |  | 11 |  |  | 11
12 | 0.004 |  | 12 |  |  | 12
13 | 0.07 |  | 13 |  |  | 13
14 | 0.005 |  | 14 |  |  | 14
15 | 0.115 |  | 15 |  |  | 15
16 | 0.004 |  | 16 |  |  | 16
17 | 0.094 |  | 17 |  |  | 17
18 | 0.002 |  | 18 |  |  | 18
19 | 0.027 |  | 19 |  |  | 19
20 | 0.004 |  | 20 |  |  | 20
21 | 0.076 |  | 21 |  |  | 21
22 | 0.003 |  | 22 |  |  | 22
23 | 0.074 |  | 23 |  |  | 23
24 | 0.004 |  | 24 |  |  | 24
25 | 0.015 |  | 25 |  |  | 25
26 | 0.003 |  | 26 |  |  | 26
27 | 0.08 |  | 27 |  |  | 27
28 | 0.003 |  | 28 |  |  | 28
29 | 0.041 |  | 29 |  |  | 29
30 | 0.004 |  | 30 |  |  | 30
31 | 0.042 |  | 31 |  |  | 31
32 | 0.003 |  | 32 |  |  | 32
33 | 0.052 |  | 33 |  |  | 33
34 | 0.004 |  | 34 |  |  | 34
35 | 0.03 |  | 35 |  |  | 35
36 | 0.005 |  | 36 |  |  | 36
37 | 0.032 |  | 37 |  |  | 37
38 | 0.003 |  | 38 |  |  | 38
39 | 0.038 |  | 39 |  |  | 39
40 | 0.004 |  | 40 |  |  | 40
| THC/Iref (%) |  |  | THC/Iref (%) |  |  | THC/Iref (%)
THC | 6.4 |  | THC |  |  | THC
| PWHC/Iref (%) |  |  | PWHC/Iref (%) |  |  | PWHC/Iref (%)
PWHC | 0 |  | PWHC |  |  | PWHC
Manufacturer's EMC Test Report Filename |  |  |  | EMC Test Report on Monobloc Midea Heat Pump.pdf
Manufacturer's EMC Test Report Document Number |  |  |  | 64.711.18.05280.01
Manufacturer's Documentation Declaration
In accordance with EN 61000-3-12… | [5 empty] | Minimum short-circuit level, Ssc min (kVA)
Equipment complying with IEC 61000-3-12 subject to minimum short-circuit power | [5 empty] | 227.5
Declaration of Conformity
CE Declaration of Conformity Filename |  |  |  |  | Baxi Assure Monobloc 12_16kW DoC.pdf
CE Declaration of Conformity Document/Certificate Number |  |  |  |  | Ref: 500-2
Standards Cited on CE Declaration of Conformity
Harmonic Standards |  |  |  |  | EN 61000-3-12
Voltage Fluctuation/Flicker Standards |  |  |  |  | EN 61000-3-11
Manufacturer's Declaration for Connection Design Purposes
Statement | Emissions do not exceed Class A limits in IEC 61000-3-2
Drop-down lists
Air Source
Ground Source
Water Source
1
Split
3
230
400
Whole system
Heat pump
Back-up heater - on-board
Back-up heater - external
Supplementary (boost) heater - on-board
Supplementary (boost) heater - external
Water (immersion) heater - on-board
Water (immersion) heater - external
Equipment complying with IEC 61000-3-12
Equipment complying with IEC 61000-3-12 subject to minimum short-circuit power
EN 61000-3-12
EN 61000-3-2
EN 61000-6-3
EN 61000-6-4
EN 61000-3-11
EN 61000-3-3
EN 61000-6-3
EN 61000-6-4
Emissions do not exceed Class A limits in IEC 61000-3-2
Note on D117: Scarbro, Simon P.: Use Sheet A8 to provide supporting current emission data.

## A5_Data_>75A_Harmonics
A5 DATA ENTRY SHEET - >75A [Harmonics]
NOTE | Use this sheet to provide information and data for equipment falling outside the scope of IEC 61000-3-12 and IEC 61000-3-2.
NOTE | To enable the Network Operator to offer the most economic electrical connection design (using an EREC G5 Stage 2 assessment), it is necessary for the manufacturer to state harmonic current emissions.
CONFIDENTIAL DATA
Equipment
Make
Model
Model Reference
Heat Pump Type
Phases
Voltage (V)
Total Heat Pump System (Input) Rated Current (A)
Total Heat Pump System (Input) Rated Power (kVA)
Module
Module Input Rated Current (A)
Module Input Rated Power (kVA)
Harmonic Current Emission Data
Phase | L1 |  | Phase | L2 |  | Phase | L3
| Current (A) |  |  | Current (A) |  |  | Current (A)
Irated |  |  | Irated |  |  | Irated
| Current (A) | % Irated (%) |  | Current (A) | % Irated (%) |  | Current (A) | % Irated (%)
RMS |  |  | RMS |  |  | RMS
Harmonic h | Ih (A) |  | Harmonic h | Ih (A) |  | Harmonic h | Ih (A)
1 |  |  | 1 |  |  | 1
2 |  |  | 2 |  |  | 2
3 |  |  | 3 |  |  | 3
4 |  |  | 4 |  |  | 4
5 |  |  | 5 |  |  | 5
6 |  |  | 6 |  |  | 6
7 |  |  | 7 |  |  | 7
8 |  |  | 8 |  |  | 8
9 |  |  | 9 |  |  | 9
10 |  |  | 10 |  |  | 10
11 |  |  | 11 |  |  | 11
12 |  |  | 12 |  |  | 12
13 |  |  | 13 |  |  | 13
14 |  |  | 14 |  |  | 14
15 |  |  | 15 |  |  | 15
16 |  |  | 16 |  |  | 16
17 |  |  | 17 |  |  | 17
18 |  |  | 18 |  |  | 18
19 |  |  | 19 |  |  | 19
20 |  |  | 20 |  |  | 20
21 |  |  | 21 |  |  | 21
22 |  |  | 22 |  |  | 22
23 |  |  | 23 |  |  | 23
24 |  |  | 24 |  |  | 24
25 |  |  | 25 |  |  | 25
26 |  |  | 26 |  |  | 26
27 |  |  | 27 |  |  | 27
28 |  |  | 28 |  |  | 28
29 |  |  | 29 |  |  | 29
30 |  |  | 30 |  |  | 30
31 |  |  | 31 |  |  | 31
32 |  |  | 32 |  |  | 32
33 |  |  | 33 |  |  | 33
34 |  |  | 34 |  |  | 34
35 |  |  | 35 |  |  | 35
36 |  |  | 36 |  |  | 36
37 |  |  | 37 |  |  | 37
38 |  |  | 38 |  |  | 38
39 |  |  | 39 |  |  | 39
40 |  |  | 40 |  |  | 40
41 |  |  | 41 |  |  | 41
42 |  |  | 42 |  |  | 42
43 |  |  | 43 |  |  | 43
44 |  |  | 44 |  |  | 44
45 |  |  | 45 |  |  | 45
46 |  |  | 46 |  |  | 46
47 |  |  | 47 |  |  | 47
48 |  |  | 48 |  |  | 48
49 |  |  | 49 |  |  | 49
50 |  |  | 50 |  |  | 50
Manufacturer's EMC Test Report Filename
Manufacturer's EMC Test Report Document Number
Drop-down lists…
Air Source
Ground Source
Water Source
1
Split
3
230
400
Whole system
Heat pump
Back-up heater - on-board
Back-up heater - external
Supplementary (boost) heater - on-board
Supplementary (boost) heater - external
Water (immersion) heater - on-board
Water (immersion) heater - external

## A6_Data_=<75A Fluctuations
A6 DATA ENTRY SHEET - ≤75A [Fluctuations]
NOTE | Use this sheet to provide information and data for equipment falling within the scope of IEC 61000-3-11.
DATA
Equipment
Make |  | Baxi
Model |  | Assure
Model Reference |  | Mono 12
Heat Pump Type
Phases
Voltage (V)
Total Heat Pump System (Input) Rated Current (A) |  | 26.8
Total Heat Pump System (Input) Rated Power (kVA) |  | 6.1
Module
Module Input Rated Current (A) |  | 26.8
Module Input Rated Power (kVA) |  | 6.1
Manufacturer's Documentation Declaration
In accordance with EN 61000-3-11… |  |  | Maximum source impedance, Zmax (Ω)
Equipment complying with IEC 61000-3-3 technical requirements |  |  | N/A
Manufacturer's EMC Test Report Filename |  | EMC Test Report on Monobloc Midea Heat Pump.pdf
Manufacturer's EMC Test Report Document Number |  | 64.711.18.05280.01
Drop-down lists
Air Source
Ground Source
Water Source
1
Split
3
230
400
Whole system
Heat pump
Back-up heater - on-board
Back-up heater - external
Supplementary (boost) heater - on-board
Supplementary (boost) heater - external
Water (immersion) heater - on-board
Water (immersion) heater - external
Equipment complying with IEC 61000-3-3 technical requirements
Requires Zsource ≤Zmax
Requires Service Current Capacity ≥100A per phase
Not applicable

## A7_Data_>75A_Fluctuations
A7 DATA ENTRY SHEET - >75A [Fluctuations]
NOTE | Use this sheet to provide information and data for equipment falling outside of the scope of IEC 61000-3-11 and IEC 61000-3-3.
DATA
Equipment
Make
Model
Model Reference
Heat Pump Type
Phases
Voltage (V)
Total Heat Pump System (Input) Rated Current (A)
Total Heat Pump System (Input) Rated Power (kVA)
Module
Module Input Rated Current (A)
Module Input Rated Power (kVA)
Voltage Fluctuation and Flicker Data
Maximum source impedance to comply with IEC 61000-3-11 Section 5 limits (Ω)
Manufacturer's EMC Test Report Filename
Manufacturer's EMC Test Report Document Number
Drop-down lists
Air Source
Ground Source
Water Source
1
Split
3
230
400
Whole system
Heat pump
Back-up heater - on-board
Back-up heater - external
Supplementary (boost) heater - on-board
Supplementary (boost) heater - external
Water (immersion) heater - on-board
Water (immersion) heater - external
Equipment complying with IEC 61000-3-3 technical requirements
Requires Zsource ≤Zmax
Requires Service Current Capacity ≥100A per phase
Not applicable

## A8_Data_>16A_Harmonics
A8 DATA ENTRY SHEET - >16A [Harmonics]
NOTE | Use this sheet to provide information and data for equipment falling outside the scope of IEC 61000-3-2 where compliance with the Class A limits of that standard is claimed.
CONFIDENTIAL DATA
Equipment
Make
Model
Model Reference
Heat Pump Type
Phases
Voltage (V)
Total Heat Pump System (Input) Rated Current (A)
Total Heat Pump System (Input) Rated Power (kVA)
Module
Module Input Rated Current (A)
Module Input Rated Power (kVA)
Harmonic Current Emission Data
Phase | L1 |  | Phase | L2 |  | Phase | L3
| Current (A) |  |  | Current (A) |  |  | Current (A)
Irated |  |  | Irated |  |  | Irated
| Current (A) |  |  | Current (A) |  |  | Current (A)
IRMS |  |  | IRMS |  |  | IRMS
Harmonic h | Ih max (A) | Ih ave (A) | Harmonic h | Ih max (A) | Ih ave (A) | Harmonic h | Ih max (A) | Ih ave (A)
1 |  |  | 1 |  |  | 1
2 |  |  | 2 |  |  | 2
3 |  |  | 3 |  |  | 3
4 |  |  | 4 |  |  | 4
5 |  |  | 5 |  |  | 5
6 |  |  | 6 |  |  | 6
7 |  |  | 7 |  |  | 7
8 |  |  | 8 |  |  | 8
9 |  |  | 9 |  |  | 9
10 |  |  | 10 |  |  | 10
11 |  |  | 11 |  |  | 11
12 |  |  | 12 |  |  | 12
13 |  |  | 13 |  |  | 13
14 |  |  | 14 |  |  | 14
15 |  |  | 15 |  |  | 15
16 |  |  | 16 |  |  | 16
17 |  |  | 17 |  |  | 17
18 |  |  | 18 |  |  | 18
19 |  |  | 19 |  |  | 19
20 |  |  | 20 |  |  | 20
21 |  |  | 21 |  |  | 21
22 |  |  | 22 |  |  | 22
23 |  |  | 23 |  |  | 23
24 |  |  | 24 |  |  | 24
25 |  |  | 25 |  |  | 25
26 |  |  | 26 |  |  | 26
27 |  |  | 27 |  |  | 27
28 |  |  | 28 |  |  | 28
29 |  |  | 29 |  |  | 29
30 |  |  | 30 |  |  | 30
31 |  |  | 31 |  |  | 31
32 |  |  | 32 |  |  | 32
33 |  |  | 33 |  |  | 33
34 |  |  | 34 |  |  | 34
35 |  |  | 35 |  |  | 35
36 |  |  | 36 |  |  | 36
37 |  |  | 37 |  |  | 37
38 |  |  | 38 |  |  | 38
39 |  |  | 39 |  |  | 39
40 |  |  | 40 |  |  | 40
41 |  |  | 41 |  |  | 41
42 |  |  | 42 |  |  | 42
43 |  |  | 43 |  |  | 43
44 |  |  | 44 |  |  | 44
45 |  |  | 45 |  |  | 45
46 |  |  | 46 |  |  | 46
47 |  |  | 47 |  |  | 47
48 |  |  | 48 |  |  | 48
49 |  |  | 49 |  |  | 49
50 |  |  | 50 |  |  | 50
Manufacturer's EMC Test Report Filename
Manufacturer's EMC Test Report Document Number
Drop-down lists…
Air Source
Ground Source
Water Source
1
Split
3
230
400
Whole system
Heat pump
Back-up heater - on-board
Back-up heater - external
Supplementary (boost) heater - on-board
Supplementary (boost) heater - external
Water (immersion) heater - on-board
Water (immersion) heater - external